Agenda Item No. 2

###### TOWN OF APPLE VALLEY PLANNING COMMISSION

### Staff Report

AGENDA DATE:	April 6, 2011

CASE NUMBER:	Conditional Use Permit No. 2011-002

APPLICANT:	Victor Valley Wastewater Reclamation Authority (VVWRA)

PROPOSAL:	The applicant requests approval to allow the construction and operation of a subregional wastewater reclamation facility adjacent to the existing Otoe Road sewer lift station.  The wastewater reclamation plant will have an initial treatment capacity of 1.0 million gallons per day (MGD) average flow and a phased build out treatment capacity of 4.0 MGD.

LOCATION:	The site is located within the southwest corner of Lenny Brewster Sports Center on the north side of Otoe Road, APNs 0440-012-59 and -60.

ENVIRONMENTAL

#### DETERMINATION:	The VVWRA prepared an EIR for the proposed project (SCH #2010051087). The Town was a Responsible Agency through that process, and provided comments on the Draft EIR. In accordance with CEQA Section 15050, the Planning Commission will consider the environmental effects described in "Town of Apple Valley Wastewater Reclamation Plant EIR" and proposed mitigation measures.

CASE PLANNER:	Ms. Carol Miller, Senior Planner

RECOMMENDATION:	Approval

PROJECT SITE AND DESCRIPTION

- Project Size:

The subject area is approximately 3.3 acres in size.

- General Plan Designations:

Project Site – 	Open Space (O-S)

North - 		Very Low Density Residential (R-VLD)

South - 		Very Low Density Residential (R-VLD)

East -  			Very Low Density Residential (R-VLD)

West -  		Very Low Density Residential (R-VLD)

- Surrounding Zoning and Land Use:

Project Site-	Open Space Recreation (OS-R), Lenny Brewster Sports Center

North - 		Very Low Density Residential (R-VLD), Vacant Land and Single Family Residential

South - 		Very Low Density Residential (R-VLD), Vacant Land and Single Family Residential

East - 			Very Low Density Residential (R-VLD), Vacant Land

West - 			Very Low Density Residential (R-VLD), Vacant Land and Single Family Residential

- Site Characteristics:

The Apple Valley Wastewater Reclamation Plant is proposed to be located adjacent to the Town’s existing sewer lift station within the Lenny Brewster Sports Center, a public park just north of Otoe Road.  The subject area is relatively flat and contains some park improvements (horseshoe pits), park entrance, and maintenance building, all proposed to be removed or relocated.

ANALYSIS

- General:

Pursuant to the Development Code, a Conditional Use Permit (CUP) is required for government facilities or public installations, other than offices, which allows the Commission an opportunity to consider certain uses which may have potential adverse impacts upon surrounding property or the general public.  The Victor Valley Wastewater Reclamation Authority is a four (4) member Joint Powers Authority that includes the cities of Victorville and Hesperia, the Town of Apple Valley, and the San Bernardino County Service Areas 42 and 64.

The purpose of the Apple Valley wastewater reclamation plant is to provide adequate wastewater treatment capacity to comply with public health and safety regulations and to meet future subbasin water supply demands.  The project is also intended to supply recycled water in order to meet part of the long-term water supply requirements of the Town.  The wastewater reclamation plant will have an initial treatment capacity of 1.0 million gallons per day (MGD) average flow and a phased build-out treatment capacity of 4.0 MGD.

The wastewater reclamation plant will treat a portion of the wastewater from the Town’s sewer collection system, reuse the treated water in a beneficial manner, and return the solids to the sewer for treatment at the Westside Regional Reclamation Plant in Victorville.  This will reduce the overall load on the collection system of the Westside Regional facility while creating recycled water.  Another benefit is the reduction of recycled water infrastructure and the subsequent energy costs of pumping the recycled water back up grade to the recycled water users.

The primary areas of concern associated with wastewater reclamation are typically odor and noise.  These have been addressed individually below.

- Odor

Wastewater treatment plants do have potential odor issues and is the primary issue to surrounding land uses.  The project proposes the operation to be conducted within the structure and no exterior wastewater treatment is proposed.  The EIR indicates that, with proper operating odor control units, the air in the immediate vicinity will have a “wet earth” odor character.  Within 500 feet, additional atmospheric dilution reduces the odor to below the detection threshold of the most sensitive receptors.  Because the plant will discharge waste solids back into the collection system for treatment, truck traffic is eliminated and the odors that are associated with solids handling.

- Noise

The vast majority of equipment will be located within buildings.  The high volume blowers are proposed to be located within the concrete basement and noise enclosures to reduce their potential noise impact to the surrounding neighborhood.   Each blower is provided an individual enclosure to reduce the noise level within the building to further reduce the noise impact on operators.  Other noise control features have been incorporated into the design of the project.

B.	Analysis:

The subject site is located within the 100-year flood hazard associated with the Apple Valley Dry Lake.  Although the site is on the fringe of the flood zone, mitigation is required to protect the site from flood hazards.  To address this issue, a two (2)-foot retaining wall is proposed along the northerly facility boundary and landscape berming around the perimeter.  For security purposes, a six (6)-foot high wrought iron fence is proposed.  In locations where there will be a retaining wall, the fencing will be located on top of the wall for an overall height of eight (8) feet.  This overall fence height is permitted.

The project area is comprised of two (2) separate legal parcels.  The site plan indicates the proposed facility to cross over the parcel lines between the sewer lift station parcel and the Brewster Park parcel.  A lot merger or lot line adjustment prior to occupancy is required such that the lift station and wastewater facility encompass the same parcel (Condition of Approval No. P12).

- Traffic and Circulation

The project does include the relocation of the existing park entrance from Otoe Road.  A new fifty-four (54)-foot wide driveway from Otoe Road is proposed that will serve as a park entrance and wastewater facility entrance.  Although Otoe Road is paved, it is currently not fully developed in accordance with the General Plan Circulation Element.  In accordance with the Equestrian trail standards, sufficient setback is being provided to accommodate the future twelve (12)-foot wide Lifeline Trail which will be installed at such time the Town constructs the trail along the entire park and lift station parcel frontages.

The standard Engineering conditions of approval have been incorporated into the staff report.  However, the Engineering Division is recommending that the street improvements for this project, namely curbs, gutters and sidewalk, be waived by the Planning Commission.  Because of the unique location of the project, being that it is located in the Lenny Brewster Sports Center, in the Apple Valley Dry Lake, curbs and gutters are not needed for drainage.  The right-of-way of forty-four (44) feet is consistent with the Circulation Element.  However, due to set back issues, it is recommended that a sidewalk easement be required for the northerly four (4) feet of the forty-four (44)-foot right-of-way requirement.  If the recommendation is acceptable, Condition of Approval Numbers EC2, EC3, EC4, EC6, EC8, and EC14 may be deleted.

- Drainage

The project will include impervious areas (such as driveways, parking areas and structures), which will create additional surface runoff.  The Engineering Division has recommended Condition No. EC1, which requires that a final drainage plan be submitted for review and approval to the Town Engineer, showing provisions for receiving and conveying off-site and on-site tributary drainage flows around or through the site in a manner which will not adversely affect adjacent or downstream properties.

In accordance with the Development standards, the building is setback fifty (50) feet from the front property line.  A twenty (20)-foot landscape setback is being provided along Otoe Road which exceeds the ten (10)-foot minimum.

The Development Code does not specify a parking ratio for the proposed use.  The site plan indicates four (4) parking spaces located parallel to the building.  The number of spaces is based on the anticipated number of employees.  However, if additional parking is needed, sufficient parking is available within the park parking lot located adjacent to the facility.

In addition to the park entrance being relocated further east, the site demolition plan indicates the removal of some existing structures and park improvements.  A small park maintenance building and its perimeter fencing will be removed and approximately forty (40) horseshoe pits will be removed.  Where feasible, existing landscaping material will be incorporated into the new planter areas.

C.	Architecture:

The building elevations indicate a twenty-three (23)-foot high structure that includes tile roofing and stucco and block wainscot siding with architectural treatments.  The design is considered typical for such a facility within proximity to residential areas.  Many of the design elements on the building can be commonly found on a single-family residence.  Staff finds the architectural design to be compatible with the surrounding area.

D.	Development Review Committee:

On March 3, 2011, the Development Review Committee (DRC) reviewed this project.  The project was distributed prior to the meeting to all affected agencies and comments and recommended Conditions of Approval are attached for Commission review and consideration.

E.	Environmental Assessment:

Pursuant to the California Environmental Quality Act (CEQA), the Town of Apple Valley is a responsible agency for the Wastewater Reclamation Plant.  As a responsible agency, the Town must review and concur with the conclusions and mitigation measures included in the Wastewater Reclamation EIR.  The EIR for the facility has been provided on a separate disk.

The environmental impacts generated were analyzed in the Environmental Impact Report (EIR) prepared by the Victor Valley Wastewater Reclamation Authority (VVWRA) for the Town of Apple Valley Wastewater Reclamation Plant and related facilities.  The EIR was certified by the Commissioners on February 17, 2011.  The Mitigation Monitoring Program for the EIR contains mitigation measures under the categories of Aesthetics, Geology and Soils, and Transportation/Circulation.

F.	Noticing:

This item was advertised as a public hearing in the Apple Valley News newspaper on March 25, 2011.

G.	Findings:

As required under Section 9.16.090 of the Development Code, prior to approval of a Conditional Use Permit, the Planning Commission must make specific Findings.  The Findings, and a suggested comment to address each, are presented below:

- That the proposed location, size, design and operating characteristics of the proposed use is consistent with the General Plan, the purpose of this Code, the purpose of the zoning district in which the site is located, and the development policies and standards of the Town;

Comment:	The proposed wastewater reclamation plant is located in the southwest portion of Lenny Brewster Sports Center adjacent to the Town’s sewer lift station.  The reclamation facility building proposes a twenty-three (23)-foot high structure that includes tile roofing and stucco siding with architectural treatments that appear similar to a typical single family residence and similar to the structures located within the park.  The General Plan and Zoning designation of the subject site is Open Space (O-S).  This designation permits government or public facilities subject to the approval of a Conditional Use Permit.  The proposed location, size, design and operating characteristics are consistent with the General Plan Water, Wastewater and Utilities Element Policy 1A, Program 1.A.1 which states “The Town shall support the Department of Public Works, the various domestic water service providers serving the Town, and the VVWRA in the development of alternative sources of groundwater recharge, and expansion of facilities to treat and distribute reclaimed, and or recycled water.”  The proposed site, as it’s designed, is consistent with this design and site requirements.

2.	That the location, size, design and operating characteristics of the proposed use will be compatible with, and will not adversely affect nor be materially detrimental to, adjacent uses, residents, buildings, structures or natural resources;

Comment:	It is not anticipated that the project will adversely affect nor be materially detrimental to adjacent uses since the collection system and recycled water pipeline will be placed below ground surface.  Further any pump stations and similar facilities will be housed in the structures which have been designed to blend in with the adjacent structures and provide sound attenuation.  Also, based on the design and operating characteristics of the facility, odor is not anticipated to impact the surrounding land uses.

3.	That the proposed use is compatible in scale, bulk, lot coverage, and density with adjacent uses;

Comment:	The building has a building setback of fifty (50) feet from the front property line along Otoe Road. The building design proposes a maximum height of twenty-three (23) feet.  In addition, perimeter landscaping will add buffering to the site. Therefore, the proposed facility is a compatible use because the site has been designed with adequate setbacks, parking, landscaping, and access point.

4.	That there are public facilities, services and utilities available at the appropriate levels, or that these will be installed at the appropriate time to serve the project as they are needed;

Comment:		There are existing public facilities, services and utilities available to serve the site.

- That there will not be a harmful effect upon desirable neighborhood characteristics;

Comment: 	It is not anticipated that the project will have a harmful effect on the neighborhood characteristics since the collection system and recycled water pipeline will be placed below ground surface.  Further, any pump stations and similar facilities will be housed in the structures that have been designed to blend in with the adjacent structures.

- That the generation of traffic will not adversely impact the capacity and physical character of surrounding streets;

Comment: 	Traffic generated from the project will not adversely impact the surrounding area.  As stated in the EIR, the proposed project will not generate sufficient traffic during construction or operations to reduce the level of service on any of the roads that serve the site.

- That traffic improvements and/or mitigation measures are provided in a manner adequate to maintain the existing service level or a Level of Service (LOS) C or better on arterial roads and are consistent with the Circulation Element of the General Plan;

Comment: 	As stated in Finding No. 6, it is anticipated that this project will not have an impact upon the roadway system and the project is anticipated to maintain LOS levels in conformance with the General Plan.

- That there will not be significant harmful effects upon environmental quality and natural resources;

Comment:	The Apple Valley Wastewater Reclamation Plant has been reviewed pursuant to the CEQA, and all significant adverse impacts are mitigated to the maximum extent feasible. All environmental impacts related to the Conditional Use Permit application have been disclosed in an Environmental Impact Report certified by the VVWRA on February 17, 2011.

- That there are no other relevant negative impacts of the proposed use that cannot be reasonably mitigated;

Comment: 	The Apple Valley Wastewater Reclamation Plant has been reviewed pursuant to the CEQA, and all significant adverse impacts are mitigated to the maximum extent feasible. All environmental impacts related to the Conditional Use Permit application have been disclosed in an Environmental Impact Report certified by the VVWRA on February 17, 2011.

- That the impacts, as described in paragraphs 1 through 9 above, and the proposed location, size, design and operating characteristics of the proposed use and the conditions under which it would be maintained will not be detrimental to the public health, safety or welfare, nor be materially injurious to properties or improvements in the vicinity, nor be contrary to the adopted General Plan;

Comment:	See Finding Nos. 1 and 9.

11.	That the proposed conditional use will comply with all of the applicable provisions of this title.

Comment:	See Findings Nos. 1 and 2.  Pursuant to the Development Code, a Conditional Use Permit is required for government or public facilities to afford the Commission the opportunity to review the architecture and potential land use conflicts.  The Code allows government or public facilities within the Open Space recreation zoning districts, with approval of a Conditional Use Permit.

- That the materials, textures and details of the proposed construction, to the extent feasible, are compatible with the adjacent and neighboring structures;

Comment:	Although the project is located within a public park and adjacent to a sewer lift station with single-family residential scattered to the south and west, the structure has been designed with sensitivity towards the residential properties.  The building elevations indicate tile roofing, stucco siding and colored concrete wainscot which are commonly used in the construction of a single-family residence.

- That the development proposal does not unnecessarily block public views from other buildings or from public ways, or visually dominate its surroundings with respect to mass and scale to an extent unnecessary and inappropriate to the use;

Comment:	The Town of Apple Valley’s General Plan recognizes the protection of local scenic resources as necessary for maintaining the overall livability and aesthetic qualities of the Town, and identifies the surrounding knolls, hills, and natural desert environment as important natural resources that should be preserved as Open Space.  The proposed project is not located within a Scenic Corridor and will not have a substantial adverse effect on a scenic vista as there are none identified within the vicinity of the project site that would be affected by development of the site.  Nevertheless, the structure has been designed to blend in with the adjacent structures with a maximum height of twenty-three (23) feet.

- That quality in architectural design is maintained in order to enhance the visual environment of the Town and to protect the economic value of existing structures.

Comment: 	The reclamation facility building proposes a twenty-three (23)-foot high structure that includes tile roofing and stucco siding with architectural treatments that appear similar to a typical single family residence and similar to the structures located within the park.

- That access to the site and circulation on and off-site is safe and convenient for pedestrians, bicyclists, equestrians and motorists.

Comment:	The project does include the relocation of the park entrance.  Nevertheless, the existing on- and off-site circulation patterns of the development provide a safe and convenient manner for access.  In accordance with the equestrian trail standards, the site plan is providing sufficient area for the future installation of the Lifeline trail along Otoe Road.

RECOMMENDATION

Based upon the information contained within this report, and any input received from the public at the hearing, it is recommended that the Planning Commission move to:

- Determine that as a responsible agency for the Final Environmental Impact Report (EIR) for the Apple Valley Wastewater Reclamation Plant project as prepared and certified by VVWRA, has considered the EIR and the environmental effects and concurs with the lead agency, that the Final EIR is complete and adequate and fully complies with all requirements of CEQA.

- Recognizes and concur with the mitigation measures adopted by VVWRA as a part of the final EIR, and the Commission finds that these mitigation measures reduce the identified potentially significant impacts to a level of insignificance and to less than significant.

3.	Find that the facts presented in the staff report support the required Findings for approval and adopt those Findings.

4.	Approve Conditional Use Permit No. 2011-002 subject to the attached Conditions of Approval.

5.	Direct staff to file a Notice of Determination.

Carol Miller	Lori Lamson

Senior Planner	Assistant Director of Community Development

ATTACHMENTS:

- Site Plan

- Building Elevations

- Floor Plan

- Landscape Plan

- Zoning Map

- EIR (On CD disk)

TOWN OF APPLE VALLEY

RECOMMENDED CONDITIONS OF APPROVAL

Case Number No. CUP 2011-002

Please note:  Many of the suggested Conditions of Approval presented herewith are provided for informational purposes and are otherwise required by the Municipal Code.  Failure to provide a Condition of Approval herein that reflects a requirement of the Municipal Code does not relieve the applicant and/or property owner from full conformance and adherence to all requirements of the Municipal Code.

- Planning Division Conditions of Approval

P1.	This project shall comply with the provisions of State law and the Town of Apple Valley Development Code and the General Plan. This conditional approval, if not exercised, shall expire three (3) years from the date of action of the reviewing authority, unless otherwise extended pursuant to the provisions of application of State law and local ordinance. The extension application must be filed, and the appropriate fees paid, at least sixty (60) days prior to the expiration date. The Conditional Use Permit become effective ten (10) days from the date of the decision unless an appeal is filed as stated in the Town’s Development Code.

P2.	Prior to issuance of a building permit, the following agencies shall provide written verification to the Planning Division that all pertinent conditions of approval and applicable regulations have been met:

Apple Valley Fire Protection District

Apple Valley Ranchos Water Company

Apple Valley Public Works Division

Apple Valley Engineering Division

Apple Valley Planning Division

P3.	The applicant shall agree to defend, at its sole expense (with attorneys approved by the Town), hold harmless and indemnify the Town, its agents, officers and employees, against any action brought against the Town, its agents, officers or employees concerning the approval of this project or the implementation or performance thereof, and from any judgment, court costs and attorney's fees which the Town, its agents, officers or employees may be required to pay as a result of such action.  The Town may, at its sole discretion, participate in the defense of any such action, but such participation shall not relieve the applicant of this obligation under this condition.

P4.	The approval of Conditional Use Permit No. 2011-002 by the Planning Commission is recognized as acknowledgment of Conditions of Approval by the applicant, unless an appeal is filed in accordance with Section 9.12.250, Appeals, of the Town of Apple Valley Development Code.

P5.	The filing of a Notice of Determination requires the County Clerk to collect a documentary handling fee of fifty dollars ($50.00).  The fee must be paid in a timely manner in accordance with Town procedures.  No permits may be issued until such fee is paid.

P6.	Parking requirements shall be met and be in compliance with Town standards.  All parking stalls shall be clearly striped and permanently maintained with double or hairpin lines.

P7.	Required parking spaces shall be provided for the handicapped in accordance with Town standards and in accordance with Title 24 of the California Administrative Code. The handicapped spaces shall be located as close as practical to the entrance of the facility. Each space must be provided with access ramps and clearly marked in accordance with Title 24 of the California Administrative Code.

P8. 	It is the sole responsibility of the applicant on any Permit, or other appropriate discretionary review application for any structure, to submit plans, specifications and/or illustrations with the application that will fully and accurately represent and portray the structures, facilities and appurtenances thereto that are to be installed or erected if approved by the Commission.  Any such plans, specifications and/or illustrations that are reviewed and approved by the Planning Commission at an advertised public hearing shall accurately reflect the structures, facilities and appurtenances expected and required to be installed at the approved location without substantive deviations, modifications, alterations, adjustments or revisions of any nature.

P9.	Lighting fixtures throughout the site shall be of a type and be located in such a manner that no light or reflected glare is directed off-site and shall provide that no light is directed above a horizontal plane passing through the bottom of the fixture.  All glare shall be directed onto the site and away from adjacent properties.

P10.	Final landscape and irrigation plans shall be submitted and installed prior to issuance of occupancy permits, subject to approval by the Planning Division.  A report from a licensed landscape architect shall be provided describing the types of trees proposed and their ability to sustain and grow within the high desert climate. In addition, this report shall provide a water budget that complies with the Town of Apple Valley Landscape Irrigation Ordinance and State of California’s Water Efficiency Landscape Ordinance

P11.	All required and installed landscaping shall incorporate and maintain a functioning automatic sprinkler system, and said landscaping shall be maintained in a neat, orderly, disease and weed free manner at all times.

P12.	Rooftop mechanical and electrical equipment shall be screened as an integral part of the architecture.

P13.	A Lot Merger application shall be approved and recorded prior to the issuance of any building permit on the vacant parcel.

P14.	All mitigation measures described in the final EIR will be implemented pursuant to the mitigation monitoring program adopted by the VVWRA as part of the project.

Engineering Division Conditions of Approval

- A final drainage plan with street layouts shall be submitted for review and approval by the Town Engineer showing provisions for receiving and conducting offsite and onsite tributary drainage flows around or through the site in a manner which will not adversely affect adjacent or downstream properties.  This plan shall consider retaining onsite drainage flows from a 100 year design storm.

- Street improvement plans shall be submitted to the Town Engineer for review and approval.

- All streets abutting the development shall be improved a minimum half-width of twenty-eight (28) feet with curb, gutter and sidewalk on the development side.

- Otoe Road adjacent to the property shall be improved to the Town's half-width Secondary Road standards.

- A forty-four (44)-foot wide half-width road dedication along Otoe Road shall be granted to the Town of Apple Valley prior to Issuance of Grading Permit.

- During the grading of the streets, soils testing of the street subgrades by a qualified soils engineering firm shall be performed to determine appropriate structural street section.  Minimum asphalt concrete thickness for all streets shall be 0.33 ft.

- An encroachment permit shall be obtained from the Town prior to performing any work in any public right of way.

- Final improvement plans and profiles shall indicate the location of any existing utility which would affect construction and shall provide for its relocation at no cost to the Town.

- A final grading plan shall be approved by the Town Engineer prior to issuance of a grading permit.  A grading permit shall not be issued until street improvement plans have been submitted to the Town Engineer for review and substantial completion of the street plans has been attained as determined by the Town Engineer.

- The developer shall present evidence to the Town Engineer that he has made a reasonable effort to obtain a non-interference letter from any utility company that may have rights of easement within the property boundaries.

- Utility lines shall be placed underground in accordance with the requirements of the Town.

- Traffic impact fees adopted by the Town shall be paid by the developer.

- Any developer fees adopted by the Town including but not limited to drainage fees shall be paid by the developer.

- Any required street striping shall be thermoplastic as approved by the Town Engineer.

Apple Valley Fire Protection District Conditions of Approval

FD1.	The above referenced project is protected by the Apple Valley Fire Protection District.  Prior to construction occurring on any parcel, the owner shall contact the Fire District for verification of current fire protection development requirements.

FD2.	All new construction shall comply with applicable sections of the California Fire Code, California Building Code, and other statutes, ordinances, rules, and regulations regarding fires and fire prevention adopted by the State, County, or Apple Valley Fire Protection District.

FD3.	All combustible vegetation, such as dead shrubbery and dry grasses, shall be removed from each building site a minimum distance of thirty (30) feet from any combustible building material, including the finished structure.  This does not apply to single specimens of trees, ornamental shrubbery, or similar plants, which are used as ground cover if they do not form a means of transmitting fire.

California Public Resources Code, Sec. 4291

FD4.	Prior to combustible construction, the development and each phase thereof, shall have two points of paved access for fire and other emergency equipment, and for routes of escape which will safely handle evacuations.  Each of these points of access shall provide an independent route into the area in which the development is located.

Apple Valley Fire Protection District

Ordinance 44

Install per A.V.F.P.D. Standard ARI #8

FD5.	Fire lanes shall be provided with a minimum width of thirty (30) feet, maintained, and identified.

Apple Valley Fire Protection District Ordinance 49

Install per A.V.F.P.D. Standard Series #202

FD6.	A turnaround shall be required at the end of each roadway one hundred fifty (150) feet or more in length and shall be approved by the Fire District.  Cul-de-sac length shall not exceed one thousand (1,000) feet.

Turning radius on all roads within the facility shall not be less than twenty-two (22) feet inside and minimum of forty (40) feet outside turning radius with no parking on street, or forty-seven (47) feet with parking.  Road grades shall not exceed twelve percent (12%) unless approved by the Chief.

Apple Valley Fire Protection District

Ordinance 49

Install per A.V.F.P.D. Standard Series #202

FD7.	Approved numbers or addresses shall be placed on all new and existing buildings in such a position as to be plainly visible and legible from the street or road fronting the property.  Said numbers shall contrast with their background.

Commercial and industrial developments shall have street addresses and location approved by the Fire District. Where the building setback exceeds 200 feet from the roadway, additional non-illuminated contrasting eighteen (18)-inch numbers shall be displayed at the property entrance.  When these developments have rear doors of each unit, the unit number shall be a minimum of six (6) inches and shall contrast with their background.

Apple Valley Fire Protection District, Ordinance 49

FD8.	Plans for fire protection systems designed to meet the fire flow requirements specified in the Conditions of Approval for this project shall be submitted to and approved by the Apple Valley Fire Protection District and water purveyor prior to the installation of said systems.

Apple Valley Fire Protection District, Ordinance 42

- Unless otherwise approved by the Fire Chief, on-site fire protection water systems shall be designed to be looped and fed from two (2) remote points.

- System Standards:

*Fire Flow       		1500  GPM @ 20 psi Residual Pressure

Duration            		2  Hour(s)

Hydrant Spacing    	330  Feet

*If blank, flow to be determined by calculation when additional construction information is received.

Install per A.V.F.P.D. Standard Series #101

C.  A total of 1 additional fire hydrant will be required on site for the fire protection.  It is the responsibility of the owner/developer to provide all new fire hydrants with reflective pavement markers set into pavement and curb identification per A.V.F.P.D. Standard.

Install per A.V.F.P.D. Standard Series #101

FD9.	An approved fire sprinkler system shall be installed throughout any building:

- Exceeds 4,999 square feet

- Two stories or greater.

- Existing building(s) with intensification of use, or

- Other per California Building Code requirements.

The system shall be supervised and connected to an approved alarm monitoring station and provide local alarm which will give an audible signal at a protected location.  Supervision to be both water flow and tamper.  Sprinkler work may not commence until approved plans and permits have been issued by the Fire District.

Apple Valley Fire Protection District, Ordinance 49

FD10.	A letter shall be furnished to the Fire District from the water purveyor stating that the required fire flow for the project can be met prior to the Formal Development Review Committee meeting

FD11.	Prior to issuance of building permit, the developer shall pay all applicable fees as identified in the Apple Valley Fire Protection District Ordinance.  $0.586 Square Foot.

FD12.	A Knox Box Rapid Entry System shall be required for this project.

Apple Valley Fire Protection District Ordinance 49

FD13.	Quantities of Hazardous Material shall be provided at the time of building plan review.

Apple Valley Ranchos Water Company Conditions of Approval

AVR1.	The existing twelve (12)-inch water main located on the north side of Otoe Road will need to be extended to the easterly property line in accordance with Rule 15 of the California Public Utilities Commission.

AVR2.	A two (2)-inch domestic service line will need to be extended from the existing water main to the street right-of-way for onsite use as indicated on the Yard Piping Relocation Plan dated Oct. 2010.  The existing service line will remain in place as indicated on the Piping Demo Plan.  A backflow protection device will be required for both of these services and installed onsite, adjacent to the street right-of-way.

AVR3.	A four (4)-inch service line is required and will be extended from the proposed water main to the right-of-way and will comply with Rule 16 of the California Public Utilities Commission.  This service line is needed to serve the proposed and/or existing site.   One offsite and one onsite fire hydrant extension appears to be required.  A backflow protection device will be required and installed onsite, adjacent to the street right-of-way for this water service and the onsite fire hydrant lines.

AVR4.	A Supply Facility Fee will be collected at $800 per 5/8” meter.  One Two (2)-inch water meter will be required as indicated on the Yard Piping Relocation Plan dated Oct. 2010.  There are eight (8), 5/8-inch equivalent meters in a two (2)-inch meter.  8 x $800= $6,400.

ARV5.	A Water Acquisition Fee is required in order for AVRWC to have rights to provide water to the project.  This fee is based on the annual water usage per acre-foot for this type of development.  This one time charge is subject to change and is determined at the time of construction.  Presently, an acre-foot of water is $3,500.

Building and Safety Division Conditions of Approval

None

Public Works Division Conditions of Approval

None

END OF CONDITIONS